## Slide 1: Sustainability: Energy Conservation Efforts
Leah Hiniker, Facility Services Hennepin County
How to set your image in the placeholder
Right click image and select “format picture”
Select “Picture” tab
Select Crop from the drop down menu
Under Picture Position, use the Offset X and Offset Y to position your image within the frame
delete this when no longer needed
Notes: Leah -
Thank you for your interest in this topic of energy and your time today.

## Slide 2: Vision
Have reliable sources of energy to support critical services and use energy responsibly.
Make strategic investments in our energy future maximize environmental benefits and trim the cost of energy consumed.
Provide regional and national leadership in energy conservation, efficiency and renewable production.
Notes: Leah
Our vision is to provide reliable energy to the county’s buildings while being a steward of the environment and fiscally responsible. We aim to lead the industry by investing in energy efficient technologies and strategies such as a waste to energy facility and high-performance buildings.

## Slide 3: Energy in Hennepin County
Consume energy conducting county business
Produce energy
Fleet
Buildings
Energy Center
HERC
Solar
Notes: Leah
Hennepin County is unique as a county as it not only consumes energy, it produces it. Buildings are the primary consumer of energy comprising of 85% of the total energy used. Fleet comes in second with 9% of the energy use.
The county owns two facilities that generate energy as well as a solar array located at the Medina Public Works Facility. The HERC Facility is a combined heat and power facility that exports approximately 31 megawatts to Xcel Energy’s power grid - enough to power 25,000 homes.
HERC also provides steam to downtown district energy and Target Field.
The Energy Center provides steam and chilled water to the HCMC campus, six county buildings, and three private customers totaling over 6 million square feet of space. The Energy Center can produce 310,000 pounds of steam and nearly 16,000 tons of chilled water.
On average the solar array at Medina generates115,000 kilowatt hours per year. Over its life time the solar array has generated 932,000 kilowatt hours of electricity. (Provides less than 1% of total county energy needs)

## Slide 4: Why is conserving energy important?
Helps mitigate climate change
Improves air quality to protect public health
Saves money
Notes: Greenhouse gases are released when fossil fuels are burned. These gases have been known to cause climate change which causes extreme weather conditions. Air pollution as a whole causes increases in health related issues such as asthma and cardiovascular diseases. When energy is conserved or used more efficiently, there is a subsequent reduction in air pollution.
Reducing our energy use also reduces our energy costs. As electricity rates continue to increase by nearly 3%, reducing energy can offset these rate increases.

## Slide 5
Energy Use by Type

## Slide 6
Energy Reduction Goal
20% 
by
2020
Chart: 7-Year Energy Plan Milestones
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
 | 458014 | 441525.496 | 419082.81 | 419998.838 | 403968.348 | 366411.2
Notes: Facility Services has set a goal of reducing energy use by 20% by the year 2020. This equates to 3% annually over 7 years starting in 2014.
As you can see, we are on our way to reach these goals all due to the efforts of high-efficiency building design, recommissioning, lighting upgrades, building controls and operation and maintenance efforts. Currently we are at 11.6%, just shy of our 12% target. Some of the challenges we are facing include increases to electronic equipment including computers and servers and extended building hours.

## Slide 7
Renewable energy
Energy efficiency
Windows, insulation, new technology, high efficiency building construction/renovations, HVAC upgrades, LED lighting and controls
Energy conservation
Building automation controls, recommissioning/commissioning, temperature guidelines, equipment scheduling, education
Hydro Power
Biomass
Wind
Waste-to-Energy
Solar
Complexity/Resource investment
Future energy efforts:
Large capital building projects (new and remodeling)
Energy efficiency capital projects
Continuous improvements in operations
Employee engagement
Direction Ahead
Notes: This pyramid depicts the energy reduction efforts moving forward for the county. As we work our way up the pyramid, energy reduction becomes more capital and resource intensive. Our focus moving forward is to improve and maintain energy conservation efforts. We plan to implement an employee engagement campaign to help bring awareness to these efforts. We are also going to be investing in more deep retrofits of our buildings including window replacements and increased insulation. These investments will allow us to increase energy efficiency while improving staff comfort and preserving the county’s assets.
Being a good steward of the environment not only means using less energy, but using cleaner energy. Investing in renewable energy sources helps reduce our reliability on coal fired electricity plants. We currently generate less than 1% of our energy use from solar and have subscribed another 4% into the community solar gardens program. We will not be able to able carbon emission reduction goals without investing in renewable energy sources such as solar. Setting a goal will set design criteria for projects moving forward.

## Slide 8
Buildings
LED Lighting:
60% more energy efficient
Less maintenance
Better light quality
Daylighting and controls:
Reducing lighting when sunny
Occupancy controls
Dimming

## Slide 9
Buildings
Recommissioning:
Building tune-up
5-25% energy savings
Building Automation Systems:
Controls HVAC and lighting systems
Geothermal:
  30-60% more efficient
  Uses heat from the ground

## Slide 10
EmPower Employee Behavior Campaign
Lightbulb exchange:
  Replaced 517 lightbulbs
  Saving 30,000 kWh annually
Plug in timers:
  Turns off plug loads via timer
  52 timers installed

## Slide 11
IT and Data Center
Data center:
  LED Lighting and occupancy sensors
  Hot/cold isle technology
  Dry coolers
Computers:
  Energy Star rated laptops
  Automatic sleep mode on monitors

## Slide 12
Solar Array:
Medina Public Works - 2009
  80 kW solar array
  528 modules at 185 watts
Renewables
Community Solar Gardens:
  10 solar arrays
  4,067 kW solar load
  10% electricity load

## Slide 13
Low flow faucets and toilets
Water Conservation
Moisture sensing irrigation systems

## Slide 14
Fuels:
E85 – flex fuel vehicles
Biodiesel blends
Hybrid vehicles
Electric vehicles
Transportation
Traffic Lighting:
Signals converted to LED
Street lighting converted to LED
Hennepin Avenue bridge lighting converted to LED

## Slide 15
Light rail line:
Less emissions
Less vehicles on the road
Transportation
Bike paths:
500 miles of bike paths
Reducing vehicle miles traveled

## Slide 16
Recycling:
Single sort
Organics
50% waste recycled
Waste Reduction
Fix-It Clinics:
1,000 items fixed annually
7000 pounds diverted from landfills

## Slide 17
Converts trash to energy
Burns trash to produce energy
Produces steam and electricity
Reduces use of landfills
Hennepin Energy Recovery Center
365,000 tons of trash burned annually

## Slide 18
Chart: eCO2 Total Emissions (in 1,000 metric tons)
| 2005 | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050
Total (tons) | 105.3651 | 94.4462 | 82.6179 | 79.0238 | 21.073
Greenhouse Gas Emission Reduction Goals
15% 
by
2015
25% 
by
2025
80% 
by
2050
met goal
on track
 efforts to meet goal
Notes: Update GHG chart
Leah
In 2007, Hennepin County established a goal to help mitigate climate change by reducing greenhouse gas emissions by 80% by the year 2050. Currently we are on track to meet the interim milestone goals, but strategies to meet the aggressive 2050 goal have not been determined. We have been able to meet our current goals with the help of Xcel Energy’s dedication to provide electricity using cleaner energy sources.
Xcel Energy’s Resource Plan Goals by 2030
Provide 85 percent of our energy from carbon-free sources
Reduce carbon emissions by 60 percent from 2005 levels
Continue our transition from coal to clean energy, including renewables and natural gas
Operate our nuclear fleet through their current licenses
Accelerate renewable energy development; by 2030, 35 percent of the electricity we provide would be from wind and solar resources

## Slide 19: Thank you!
Leah Hiniker
Energy Manager
Hennepin County
Leah.Hiniker@Hennepin.us
612.543.1219

## Slide 20
Matt Stringfellow, LEED Green Associate
Mechanical & Electrical Systems Manager Kraus-Anderson Construction Company

## Slide 21
Sustainability is about more than just saving energy (Example: Delta Dental Bemidji Operations Center)
Renewed focus on more livable environments for building occupants (i.e. Well Building Standard)
Psychological effects of space
Psychological effects of daylight
Psychological effects of noise
More user amenities in buildings
  Comfortable breakout and collaboration areas
  Physical exercise areas
  Bicycle storage/repair
  Family restroom facilities
  Mother’s rooms
  Wellness room

## Slide 32
REIMAGINING A 100-YEAR-OLD BUILDING
JR. ACHIEVEMENT OF THE UPPER MIDWEST:

## Slide 33: Hello.
Jennifer Buck
AIA, LEED AP BD+C
Senior Associate

## Slide 34: Project Team
RSP – Architect
JAUM – Owner
  Gina Blayney and Jolene Hart; JAUM board members
Owner’s reps – Michelle McGuire and Wendy Rogers
Mortenson – General Contractor
Anderson Companies – Pre Construction Pricing
ERA – Structural Engineers
Emanuelson-Podas – MEP engineers

## Slide 35: Selected Site – 1745 University Ave West

## Slide 50: Owner Education
Landing on a site, then a design
Budget driven design when non-profit
Going design build
Decisions, decisions, decisions!
Non-profit specific processes
Notes: Editable content behind jpgs.

## Slide 51: JAUM’s Green Story
Traditional LEED path vs.
Non-traditional LEED path - post construction
High focus on student education
Partners in the community
Notes: Editable content behind jpgs.

## Slide 52: LEED O+M (Operations and Maintenance) Certification
Innovation credits for education
Solar harvesting – panels on roof with True North and Xcel Energy lease back program
New, more energy efficient mechanical systems
High efficiency windows replaced on a portion of the building
No VOC interior finishes
Vacancy sensor lighting
Local building products and labor
(Measurement will begin after 1 year of operating)
Notes: Editable content behind jpgs.

## Slide 53: Just the First Chapter
Learning from the building
Once in a lifetime project
Facility manager change end of 2018
  New FM is Fixed Assets MN
Notes: Editable content behind jpgs.

## Slide 54: Thank you.
Jennifer Buck
AIA, LEED AP BD+C
Senior Associate
Jennifer.Buck@rsparch.com
Notes: Editable content behind jpgs.